## Slide 1
To Open BCF (Your hypermap)

## Slide 2
Now open

## Slide 3: Select your .BCF from NAS drive or the EDX computer, I have copies in both places for you!

## Slide 4: Now your BCF is open, you can create Quant maps and or LineScans

## Slide 5: To quantitate, select method and hit quant map, QMap

## Slide 6: Select method part I
Click here to select method

## Slide 7: Selecting Method
Select from edx\Methods\Masego

## Slide 8: Select elements that match spectra, don’t leave spectra un identified as we must do proper qualitative analysis before quant

## Slide 9: More id or qualitative analysis
Put in Copper, as it comes from the grid. It should be DE convolved or not appear in your final results

## Slide 10: After Qmap, 20 minutes more or less, hit this button to change to atomic %

## Slide 11: To generate a linescan, right click this tool and select line
By default it is a rectangle

## Slide 12: Select line

## Slide 13: Now draw linescan use + key to make linescan box wider to increase S/N

## Slide 14: Click Linescan tab

## Slide 15: Click here to select Point vs nm for x axis

## Slide 16: Save linescan raw data

## Slide 17: Add linescan graphics to report

## Slide 18: Add linescan data to project
Linescan data now in project

## Slide 19: Data is in a report

## Slide 20: Click IO button and hit save to Word
IO button

## Slide 21: Click Word Icon to see your report in Word

## Slide 22: Now report is in Word

## Slide 23: Managing Projects, Projects allow us to keep many linescans in one place for comparison later
Click here

## Slide 24: Rename linescan in project
Click here and
Give linescan a good name!

## Slide 25: Linescans are dragged from project into Linesan window!
Select linescan
Drag this into window below!

## Slide 26: Opening Projects
Click IO icon for project slect open project.
Browse to project in this case Masego 475C

## Slide 27: If that project is empty, it was not saved properly. But you can recreate the linescan with steps 1-14

## Slide 28: Example of good project 400C

## Slide 29: Add 400C linescan to report
Click here

## Slide 30: You can annotate report
With circled text tool I
Added 475C and 400 C label to linescans

## Slide 31
Reports are interactive! Double click on graph