## Slide 1
To change zone axis use the “Define Specimen Orientation tool” Circled below

## Slide 2: Click draw diffraction pattern tool

## Slide 3: Diffraction Pattern is now created

## Slide 4: Now import experimental Data

## Slide 5
Now that experimental pattern is in, move the pattern to overlap with peaks by adjusting camera length and centering.

## Slide 6
How to move pattern center
Click arrows to move pattern left and right, up and down.
Change angles of zone axis in Normal tab